## Read Me First
2024 ONTARIO BUILDING CODE DATA MATRIX |  | This workbook was | Issued: 2025 01 01 |  | Notes:
Working with the Excel Workbook Models of the OAA OBC DATA MATRICES
This workbook is copyrighted by the OAA and is made available for the convenience of OAA members and practices only.
As stated in OAA Practice Bulleting A.9 rev. of December 17, 2004, the intent was to have the OBC data matrix used as a "base standard, adapted as required to meet the specific requirements of each project." It was never the intent that the data matrices be unchangeable, but that the information contained be augmented or omitted as appropriate to the project's nature and complexity.
Disclaimer
This workbook was developed and is being made freely available by the OAA for the convenience and use of members and practices only. It comes with no guaranty or warranty, express or implied. Use it at your own risk. If you find it useful, please let the OAA know. If you think a revision would make the document more useful to all users, suggest it to us. If you find an error, tell us about it so we can fix it. As with any software, you should check the calculations and results manually or by using another tool until you are confident that the software produces the correct results.
Distribution
This workbook is intended for the use of members and practices only. It should not be sent to third parties in an editable format. Distribution to non-members should be in the form of PDFs or image files.
General
1.1 | - The provided matrices were initially created in Microsoft Excel 2013 on a PC. They have been updated using Excel 2016. There are features of more recent versions of Excel that would simplify some calculations, but they have not been implemented as they would require many users to upgrade their software. Similar procedures will apply to other spreadsheet software configurations.
1.2 | - By utilizing only built-in Excel functionality, it is hoped that the workbook will be compatible with other spreadsheet software, but no compatibility testing has been undertaken.
1.3 | - All matrices and supplements are provided on separate worksheets within this workbook. Additional matrices can be created by copying the worksheets and amending as required.
1.4 | - The worksheets are protected, allowing the user to select cells requiring input and protecting cells that contain labels or formulae that should not be overwritten. To enable/disable the protection, go to the Review tab on the ribbon menu and click on Protect Sheet. Leave the password field blank.
1.5 | - The row numbers indicated in the matrix-specific guides are those that are in the model matrices. Adjust row numbers within the matrices as items are added or deleted. It is suggested that if a particular item is not required, then simply ‘hide’ the row(s) within the spreadsheet. Some rows are provided with three or five blank rows for completing information. Simply ADD rows or hide as necessary to clean-up the final matrix. If adding rows, ensure that any formulae that span those rows are adjusted appropriately. It is often simplest to add rows to the middle of similar rows than to do so at the beginning or end.
1.6 | - The date in the top right of each page is when the workbook as a whole was issued. If changes are made to individual rows, the narrow column to the right of the OBC Reference column will be used to indicate which row was changed and a cell at bottom right to record the date of the change, as exampled to the right of this note. |  |  | *
1.7 | - Use the column to the right of the gray border to make project specific notes.
Data Validation and Look-ups
2.1 | - The matrices make extensive use of data validation and look-ups through input tables in order to provide functional drop-down selections and to truncate data to make input more convenient.
2.2 | - Information on data validation for individual cells can be accessed by selecting a cell, selecting the “Data” tab on the ribbon, and selecting “Data Validation” located in the “Data Tools” group. Data validation is used to limit the selections in order to make input convenient. Most cells that use data validation use a “look up” formula to obtain data. Information for the look-up data is provided through means of named input tables located on the “Lookups” worksheet. To simplify formulae, all look-up tables are assigned a name which is indicated above the input table (e.g. “Table = “xxxxx”, where “xxxxx” is the table name.) These names can be selected in the Name Box located in the top left corner of MS Excel to provide quick navigation to the table. (Note: the look-ups will not function in Google Sheets because input tables are currently not supported.)
2.3 | - If you wish to remove all drop-down selections and look-ups, select all cells, select “data validation” in the “data tools” group on the “Data” tab. On the “Settings” tab, set “Allow” to “Any value.” Doing so will then require the manual input of all information.
2.4 | - For the Seismic Category cell, simply complete the information in the “Seismic Supp” worksheet and the value will automatically display.
Data Input
3.1 | - Cells shaded in yellow indicate places where primary input is required. This input can be through means of a drop-down list or through manual input. Cells shaded in blue indicate places where secondary input may be required or desirable. With rows that use look-ups, always complete the data entry into yellow cells first as the available options for drop-down lists in adjacent blue cells will change depending on the selection first made in the adjacent yellow cell.
3.2 | - Many cells will have a tip pop-up after selecting a cell that gives a brief guide about the information to provide.
Formatting
4.1 | - Worksheets can be formatted to suit your office standards without affecting functionality of the spreadsheet. Formatting includes selection of fonts, colours, row heights, column widths, etc.
4.2 | - If additional rows or columns are required, simply right-click on the row or column numbers and select “insert.”
4.3 | - If fewer rows are needed (such as for Major Occupancies or Spatial Separation), simply select the row numbers, right-click, and select “hide.” Alternatively, you could delete the rows, but hiding allows you to easily restore the rows if subsequently needed by selecting “unhide”. Hiding also avoids potentially corrupting formulae which total the rows.
Printing
5.1 | - When printing the worksheets to a printer or PDF file, ensure “Black and white” is selected on the “Sheet” tab under the “Page Setup” dialog box to prevent the cell shading from printing (select the arrow in the bottom-right corner of the “Page Setup” group on the “Page Layout” ribbon tab). Otherwise, remove all shading prior to printing.
- When printing the worksheets, print the pages (sheets) desired individually rather than printing the entire workbook.
Revision History
6.1 | April 2017 - The earthquake importance factor now fills in automatically in response to the importance category.
April 2017 - Seismic design is no longer shown as being required when the seismic hazard index is less than or equal to 0.12
April 2017 - The Part 9 matrix has been updated to reflect the changes to OBC SB-12 that came into effect in January 2017.
April 2017 - The Part 9 matrix has been updated to remove the L/H indication from the spatial separation calculation.
August 2017 - The options for Part 9 residential and non-residential have been corrected
August 2018 - Corrected lablel for LD on 3.22 in Part 3
March 2019 - Note for Part 10 Reduction in Performance Level revised
August 2021 - Unlocked cells in 3.15. Updated Seismic supplement. SPA matrix note added
July 2023 - Checked for compliance with latest OBC. Code references and seismic calcs updated, EMT and sound transmission design added.
| January 2025 - General update for use with OBC 2024 |  |  | *
Ontario Building Code Data Matrices |  | Row updated: | * 2024 12 15
© Ontario Association of Architects

## Part2
2024 ONTARIO BUILDING CODE DATA MATRIX | [10 empty] | Issued: 2025 01 01 | Notes:
PART 2 - FARM BUILDINGS | [10 empty] | OBC REFERENCE [1]
Name of Practice
Address 1
Address 2
Contact
Name of Project
Location/Address
| Date | [7 empty] | Seal & Signature
2 | BUILDING CODE | VERSION: | O.Reg. 163/24 |  |  |  |  | LAST CODE AMENDMENT | O.Reg. 447/24
|  | APPLICABLE CODE: | Select applicable code
2.01 | PROJECT TYPE |  | - | [5 empty] | [Provide further description below.] |  | [A] 1.1.1.1.
|  |  | Description: | [7 empty] | [A] 1.3.3.1.A
|  |  | - | Includes housing of livestock
|  |  | - | Includes liquid manure below-floor storage
|  |  | - | Structural design to SB-11 | [6 empty] | 2.1.2.3.(5)
|  |  | - | Includes hazardous extraction operation involving cannabis | [6 empty] | 2.1.2.3.(6)
|  |  | - | Includes controlled atmosphere storage areas | [6 empty] | 2.4.2.3.
2.02 | MAJOR OCCUPANCY CLASSIFICATION |  | OCCUPANCY | [5 empty] | USE |  | 2.1.2.2., 2.1.4., T3.1.2.1., 3.1.2.,
|  |  | - | - | [6 empty] | A-1.4.1.2.(1),
|  |  | - | - | [6 empty] | A-3.1.2.
|  |  | - | -
|  |  | - | -
|  |  | - | -
|  |  | - | Indicate if non-Group G major occupancies are present. | [6 empty] | 2.2.1.1.(2)
|  |  | - | Calculate the major occupancy aggregate areas | [6 empty] | 2.2.1.3.
2.03 | SUPERIMPOSED MAJOR OCCUPANCIES |  | Reserved
2.04 | BUILDING AREA (m²) |  | DESCRIPTION (by floor) |  |  |  |  | EXISTING | NEW | TOTAL | 2.1.2.1, [A] 1.4.1.2.
0
0
0
|  |  | TOTAL |  |  |  |  | 0 | 0 | 0
2.05 | GROSS AREA (m²) |  | DESCRIPTION |  |  |  |  | EXISTING | NEW | TOTAL | [A] 1.4.1.2.
| (above grade) | [8 empty] | 0
0
0
|  |  | TOTAL |  |  |  |  | 0 | 0 | 0
2.06 | MEZZANINE AREA (m²) |  | DESCRIPTION |  |  |  | MEZZ TYPE | EXISTING | NEW | TOTAL | 2.2.2.2., 3.2.1.1.
[7 empty] | Select applicable |  |  | 0
[7 empty] | Select applicable |  |  | 0
[7 empty] | Select applicable |  |  | 0
|  |  | TOTAL |  |  |  |  | 0 | 0 | 0
2.07 | BUILDING HEIGHT |  |  | STOREYS ABOVE GRADE | [5 empty] | (m) ABOVE GRADE | [A] 1.4.1.2. &
|  |  |  | STOREYS BELOW GRADE | [6 empty] | 2.2.2.1., 2.2.2.2.
2.08 | HIGH BUILDING |  | Reserved
2.09 | NUMBER OF STREETS/ FIREFIGHTER ACCESS |  | - | STREET(S), PRIVATE ROADWAY(S), OR YARD(S) | [6 empty] | 2.2.4.1.
2.1 | BUILDING CLASSIFICATION |  | - | - | [6 empty] | 2.2.2.3. - 2.2.2.8
| (SIZE AND CONSTRUCTION RELATIVE TO OCCUPANCY) |  | - | -
|  |  | - | -
|  |  | - | -
|  |  | - | -
2.11 | SPRINKLER SYSTEM |  | - |  | PROVIDED: | - |  | EXISTING: | - |  | 2.2.4.2., 2.2.3.6.
TO NFPA STANDARD:
DESCRIPTION
2.12 | STANDPIPE SYSTEM |  | Reserved
2.13 | FIRE ALARM SYSTEM |  | - |  |  |  |  | TYPE PROVIDED | - |  | 2.2.3.1., 2.2.3.2.
DESCRIPTION
2.14 | WATER SERVICE/ SUPPLY IS ADEQUATE |  | Reserved
2.15 | CONSTRUCTION TYPE |  | BASED ON | - | [6 empty] | 2.2.2.3.- 8.
RESTRICTIONS
|  |  | ACTUAL | - |  |  |  | HEAVY TIMBER CONSTRUCTION |  | Reserved
2.16 | IMPORTANCE CATEGORY |  | Low |  |  |  |  | - |  |  | 2.3.1.1., 4.1.2.1.(3), T4.1.2.1.
2.17 | SEISMIC CATEGORY |  | SEISMIC CATEGORY - | [7 empty] | T4.1.8.5.-B
|  |  | SITE CLASS | - | - | [5 empty] | 4.1.8.4.(1)
|  |  | SEISMIC DESIGN REQUIRED FOR Table 4.1.8.18. items 6 to 22: |  |  |  |  | Required |  |  | 4.1.8.18.(2)
[5 empty] | REASON FOR REQUIREMENT | NEITHER SC1 NOR SC2.
2.18 | OCCUPANT LOAD |  | FLOOR LEVEL/AREA |  | OCCUPANCY TYPE |  |  | OCCUPANT LOAD (PERSONS) | BASED ON | POSTED LIMIT REQUIRED | 2.1.2.2., 2.2.1.17.
[9 empty] | - | -
[9 empty] | - | -
[9 empty] | - | -
|  |  | TOTAL |  |  |  |  | 0
2.19 | BARRIER-FREE DESIGN |  | Reserved
BARRIER-FREE ENTRANCES
2.2 | HAZARDOUS SUBSTANCES OR DANGEROUS GOODS |  | - | [7 empty] | 2.2.8.
2.21 | REQUIRED FIRE RESISTANCE RATINGS |  | HORIZONTAL ASSEMBLY |  |  |  |  | RATING (H) | SUPPORTING ASSEMBLY (H) | NONCOMBUSTIBLE IN LIEU OF RATING? | 2.2.2.3. - 8.,
|  |  | STOREYS BELOW GRADE |  |  | Reserved
|  |  | FLOORS OVER BASEMENT | [6 empty] | -
|  |  | FLOORS | [6 empty] | -
|  |  | MEZZANINE | [6 empty] | -
|  |  | ROOF | [6 empty] | -
2.22 | SPATIAL SEPARATION |  | Reserved
2.23 | PLUMBING FIXTURE REQUIREMENTS |  | Reserved
2.24 | ENERGY EFFICIENCY |  | Reserved
2.25 | SOUND TRANSMISSION DESIGN |  | Reserved
2.26 | ALTERNATIVE SOLUTIONS | [9 empty] | [A]1.2.1.1. and [C]2.1.
2.27 | NOTES
|  |  | 1 | ALL REFERENCES ARE TO DIVISION B OF THE OBC UNLESS PRECEDED BY [A] FOR DIVISION A AND [C] FOR DIVISION C
Ontario Building Code Data Matrix, Part 2 |  |  | 2 | Items indicated as "Reserved" are to maintain consistency of numbering with the Part 3 matrix.
© Ontario Association of Architects
For Site Plan Agreement/Approval (SPA) purposes, consider attaching items 2.01 through 2.17 of this form to the SPA submission.

## Part3
2024 ONTARIO BUILDING CODE DATA MATRIX | [9 empty] | Issued: 2025 01 01 | Notes:
PART 3 - FIRE PROTECTION, OCCUPANT SAFETY AND ACCESSIBILITY | [9 empty] | OBC REFERENCE [1]
Name of Practice
Address 1
Address 2
Contact
Name of Project
Location/Address
| Date | [6 empty] | Seal & Signature
3 | BUILDING CODE VERSION | O.Reg. 163/24 |  |  |  |  | LAST CODE AMENDMENT | O.Reg. 447/24
3.01 | PROJECT TYPE | - | [5 empty] | [Provide further description below.] |  | [A] 1.3.3.2.
3.02 | MAJOR OCCUPANCY CLASSIFICATION | OCCUPANCY | [5 empty] | USE |  | 3.1.2.
|  | - | -
|  | - | -
|  | - | -
|  | - | -
|  | - | -
3.03 | SUPERIMPOSED MAJOR OCCUPANCIES | - | [If Yes, provide explanation below; add lines as necessary] | [6 empty] | 3.2.2.7.
3.04 | BUILDING AREA (m²) | DESCRIPTION |  |  |  |  | EXISTING | NEW | TOTAL | [A] 1.4.1.2.
0
0
0
|  | TOTAL |  |  |  |  | 0 | 0 | 0
3.05 | GROSS AREA (m²) | DESCRIPTION |  |  |  |  | EXISTING | NEW | TOTAL | [A] 1.4.1.2.
0
0
0
|  | TOTAL |  |  |  |  | 0 | 0 | 0
3.06 | MEZZANINE AREA (m²) | DESCRIPTION |  |  |  | MEZZ TYPE | EXISTING | NEW | TOTAL | 3.2.1.1.
[6 empty] | Select applicable |  |  | 0
[6 empty] | Select applicable |  |  | 0
[6 empty] | Select applicable |  |  | 0
|  | TOTAL |  |  |  |  | 0 | 0 | 0
3.07 | BUILDING HEIGHT |  | STOREYS ABOVE GRADE | [5 empty] | (m) ABOVE GRADE | [A] 1.4.1.2. &
|  |  | STOREYS BELOW GRADE | [6 empty] | 3.2.1.1.
3.08 | HIGH BUILDING | - | [7 empty] | 3.2.6.
3.09 | NUMBER OF STREETS/ FIREFIGHTER ACCESS | - | STREET(S) | [6 empty] | 3.2.2.10. & 3.2.5.
3.1 | BUILDING CLASSIFICATION | - | - | [6 empty] | 3.2.2.20-83.
| (SIZE AND CONSTRUCTION RELATIVE TO OCCUPANCY) | - | -
|  | - | -
|  | - | -
|  | - | -
3.11 | SPRINKLER SYSTEM | - |  |  | PROVIDED: |  | - |  |  | 3.2.1.5. &
|  | DESCRIBE | [7 empty] | 3.2.2.17., 3.2.2.18., 3.2.4.8. to 3.2.4.10. and 3.2.5.13.
3.12 | STANDPIPE SYSTEM | - | [7 empty] | 3.2.9.
3.13 | FIRE ALARM SYSTEM | - |  |  |  |  | TYPE PROVIDED | - |  | 3.2.4.
3.14 | WATER SERVICE/ SUPPLY IS ADEQUATE | - | [7 empty] | 3.2.5.7.
3.15 | CONSTRUCTION TYPE | BASED ON | - | [6 empty] | 3.2.2.2.20.-83.
|  | RESTRICTIONS | -
|  | ACTUAL | - |  |  |  | HEAVY TIMBER CONSTRUCTION |  | - | 3.2.1.4.
3.16 | IMPORTANCE CATEGORY | Low |  |  |  |  | - |  |  | 4.1.2.1.(3), T4.1.2.1.B
3.17 | SEISMIC CATEGORY | SEISMIC CATEGORY - | [7 empty] | 4.1.8.4.(1)
|  | SITE CLASS | - | - | [5 empty] | T4.1.8.5.-B
|  | SEISMIC DESIGN REQUIRED FOR Table 4.1.8.18. items 6 to 22: |  |  |  |  | Required |  |  | 4.1.8.18.(2)
|  |  |  | REASON FOR REQUIREMENT | NEITHER SC1 NOR SC2.
3.18 | OCCUPANT LOAD | FLOOR LEVEL/AREA |  | OCCUPANCY TYPE |  |  | OCCUPANT LOAD (PERSONS) | BASED ON | POSTED LIMIT REQUIRED | 3.1.17. and 3.1.17.1.(2)
[8 empty] | - | -
[8 empty] | - | -
[8 empty] | - | -
|  | TOTAL |  |  |  |  | 0
3.19 | BARRIER-FREE DESIGN | - | [7 empty] | 3.8.
| BARRIER-FREE ENTRANCES |  |  | [state quantity to the left and provide an explanation here] | [5 empty] | 3.1.8.2.
3.2 | HAZARDOUS SUBSTANCES | - | [7 empty] | 3.3.1.2. & 3.3.1.19.
3.21 | REQUIRED FIRE RESISTANCE RATINGS | HORIZONTAL ASSEMBLY |  |  |  |  | RATING (H) | SUPPORTING ASSEMBLY (H) | NONCOMBUSTIBLE IN LIEU OF RATING? | 3.2.2.20-83., 3.2.1.2., 3.2.1.4., 3.2.2.15.
|  | STOREYS BELOW GRADE | [6 empty] | -
|  | FLOORS OVER BASEMENT | [6 empty] | -
|  | FLOORS | [6 empty] | -
|  | MEZZANINE | [6 empty] | -
|  | ROOF | [6 empty] | N/A
3.22 | SPATIAL SEPARATION | EXPOSING BUILDING FACE | EBF AREA (m2) | L.D. (m) | L/H OR H/L | % UPO PERMITTED / ACTUAL | REQUIRED FRR (H) | CONSTRUCTION TYPE | CLADDING TYPE | 3.2.3.
[6 empty] | / |  | - | -
[6 empty] | / |  | - | -
[6 empty] | / |  | - | -
[6 empty] | / |  | - | -
3.23 | PLUMBING FIXTURE REQUIREMENTS | RATIO: |  | MALE:FEMALE = 50:50 EXCEPT AS NOTED OTHERWISE | [5 empty] | 3.7.4., 3.8.2.3., Tables 3.8.2.3.A, and 3.8.2.3.B
|  | FLOOR LEVEL OR AREA |  | OCCUPANT LOAD (PERSONS) | OBC SENTENCE | WATER CLOSETS REQUIRED | WATER CLOSETS PROVIDED | BARRIER-FREE WATER CLOSETS REQUIRED / PROVIDED | UNIVERSAL WASHROOMS REQUIRED / PROVIDED
[8 empty] | / | /
[8 empty] | / | /
[8 empty] | / | /
3.24 | ENERGY EFFICIENCY | COMPLIANCE PATH: | [7 empty] | 12.2.1.2.
|  | CLIMATE ZONE: |  |  |  |  | DEGREE DAYS BELOW 18 C: |  |  | SB-1 Table 2
3.25 | SOUND TRANSMISSION DESIGN | IS THERE MORE THAN 1 DWELLING UNIT IN THE BUILDING?: |  |  |  |  | -
NOTES:
|  | OPTION IMPLEMENTED: |  | -
3.26 | ALTERNATIVE SOLUTIONS | [8 empty] | [A]1.2.1.1. and [C]2.1.
3.27 | NOTES
|  | 1 | ALL REFERENCES ARE TO DIVISION B OF THE OBC UNLESS PRECEDED BY [A] FOR DIVISION A AND [C] FOR DIVISION C
Ontario Building Code Data Matrix, Part 3
© Ontario Association of Architects
For Site Plan Agreement/Approval (SPA) purposes, consider attaching items 3.01 through 3.17 of this form to the SPA submission.

## Part9
2024 ONTARIO BUILDING CODE DATA MATRIX | [8 empty] | Issued: 2025 01 01 | Notes:
PART 9 - HOUSING AND SMALL BUILDINGS | [8 empty] | OBC REFERENCE [1]
Name of Practice
Address 1
Address 2
Contact
Name of Project
Location/Address
| Date | [5 empty] | Seal & Signature
9 | BUILDING CODE VERSION | O.Reg. 163/24 |  |  |  | LAST CODE AMENDMENT | O.Reg. 447/24
9.01 | PROJECT TYPE | - |  |  |  |  | [Provide further description below.] |  | [A] 1.3.3.3.
9.02 | OCCUPANCY CLASSIFICATION | OCCUPANCY |  |  |  |  | USE |  | 9.10.2.
|  | - | -
|  | - | -
|  | - | -
9.03 | SUPERIMPOSED MAJOR OCCUPANCIES | - | [If Yes, provide explanation below; add lines as necessary] | [5 empty] | 9.10.2.3.
*
9.04 | BUILDING AREA (m²) | DESCRIPTION |  |  |  | EXISTING | NEW | TOTAL | [A] 1.4.1.2.
0
0
0
|  | TOTAL |  |  |  | 0 | 0 | 0
9.05 | GROSS AREA (m²) | DESCRIPTION |  |  |  | EXISTING | NEW | TOTAL | [A] 1.4.1.2.
0
0
0
|  | TOTAL |  |  |  | 0 | 0 | 0
9.06 | MEZZANINE AREA (m²) | DESCRIPTION |  |  |  | EXISTING | NEW | TOTAL | 9.10.4.1.
0
0
0
|  | TOTAL |  |  |  | 0 | 0 | 0
9.07 | BUILDING HEIGHT |  | STOREYS ABOVE GRADE |  |  |  |  | (m) ABOVE GRADE | [A] 1.4.1.2. & 9.10.4.
STOREYS BELOW GRADE
9.08 | NUMBER OF STREETS/ FIRE FIGHTER ACCESS | - | STREET(S) | [5 empty] | 9.10.20.
9.09 | SPRINKLER SYSTEM | - |  |  | PROVIDED: | - |  |  | 9.10.8.2.-4., and 3.2.4.7.(4)
DESCRIBE
9.1 | FIRE ALARM SYSTEM | - |  |  |  | TYPE PROVIDED | - |  | 9.10.18.
9.11 | WATER SERVICE/ SUPPLY IS ADEQUATE | - | [6 empty] | 9.31.3.
9.12 | CONSTRUCTION TYPE
|  | RESTRICTIONS | - | [5 empty] | 9.10.6., 3.1.5., and 3.1.4.7.
|  | ACTUAL | - |  |  |  | HEAVY TIMBER CONSTRUCTION | -
9.13 | POST-DISASTER BUILDING | - | [6 empty] | [A]1.3.3.2., and Part 4
9.14 | OCCUPANT LOAD | FLOOR LEVEL/AREA |  | OCCUPANCY TYPE |  | OCCUPANT LOAD (PERSONS) | BASED ON | POSTED LIMIT REQUIRED | 9.9.1.3., and Table 3.1.17.1.
[7 empty] | - | -
[7 empty] | - | -
[7 empty] | - | -
|  | TOTAL |  |  |  | 0
9.15 | BARRIER-FREE DESIGN | - | [6 empty] | 9.5.2. and 3.8.
9.16 | HAZARDOUS SUBSTANCES | - | [6 empty] | 9.10.1.3.
9.17 | REQUIRED FIRE RESISTANCE RATINGS | HORIZONTAL ASSEMBLY |  |  |  | FIRE RESISTANCE RATING (H) | SUPPORTING ASSEMBLY (H) | NONCOMBUSTIBLE IN LIEU OF RATING? | 9.10.8. and 9.10.11.
|  | FLOORS EXCEPT CRAWLSPACE | [5 empty] | -
|  | MEZZANINE | [5 empty] | -
|  | ROOF | [5 empty] | -
9.18 | SPATIAL SEPARATION | WALL | EBF AREA (m2) | L.D. (m) | REQUIRED FRR (H) | % UPO PERMITTED / ACTUAL | CONSTRUCTION TYPE | CLADDING TYPE
[6 empty] | / | Encapsulated Mass Timber Permitted | -
[6 empty] | / | - | -
[6 empty] | / | - | -
[6 empty] | / | - | -
9.19 | PLUMBING FIXTURE REQUIREMENTS | RATIO: | MALE:FEMALE = 50:50 EXCEPT AS NOTED OTHERWISE | [5 empty] | 9.31. & 3.7.4.
|  | FLOOR LEVEL / AREA |  | OCCUPANT LOAD | OBC SENTENCE | WATER CLOSETS REQUIRED/ PROVIDED | BARRIER-FREE WATER CLOSETS REQUIRED/ PROVIDED | UNIVERSAL WASHROOMS REQUIRED/ PROVIDED
[6 empty] | / | / | /
[6 empty] | / | / | /
[6 empty] | / | / | /
9.2 | ENERGY EFFICIENCY | COMPLIANCE OPTION: |  |  |  | - |  |  | 12.2.
PROJECT DESIGN CONDITIONS
|  | CLIMATE ZONE |  |  |  | Zone 1 (< 5000 Degree Days)
|  | DEGREE DAYS BELOW 18 C | [6 empty] | SB-1 Table 2
|  | FENESTRATION |  |  | GROSS ABOVE GRADE WALL OR ROOF AREA (m²) |  | GROSS FENESTRATION AREA (m²) | FENESTRATION RATIO
|  | VERTICAL (W+D) | [5 empty] | <---- Input values.
|  | SKYLIGHTS | [5 empty] | <---- Input values.
|  | SPACE HEATING FUEL |  |  |  |  | -
|  | HEATING EQUIPMENT EFFICIENCY |  |  |  |  | -
|  | OTHER CONDITIONS |  |  |  |  | -
|  | COMPLIANCE PACKAGE |  |  |  |  | - |  | SB-12 T3.1.1.2.A-C, SB-12 T3.1.1.3.A-C
9.21 | SOUND TRANSMISSION DESIGN | IS THERE MORE THAN 1 DWELLING UNIT IN THE BUILDING?: |  |  |  |  | - |  | 5.8.1.2., 5.8.1.4.,
|  | NOTES: | [6 empty] | & 9.11.1.4.
|  | OPTION IMPLEMENTED: |  | -
9.22 | BRACING TO RESIST LATERAL | 5% SPECTRAL RESPONSE ACCELERATION Sa(0.2) = |  |  |  | - |  |  | 9.23.13., SB-1 Table 3
| LOADS DUE TO WIND AND | 1-in-50 HOURLY WIND PRESSURE (HWP) = |  |  |  |  | kPa |  | SB-1 Table 2
| EARTHQUAKE | APPLICABLE REQUIREMENTS | [6 empty] | 9.23.13., T A-9.23.13
|  | DESIGN IN ACCORDANCE WITH: |  |  | -
NOTES:
|  | BRACING IN ACCORDANCE WITH: |  |  | -
NOTES:
CONSTRUCTION TYPE BY FLOOR LEVEL:
LOWEST EXT. FRAME WALL SUPPORTS:
2nd LEVEL
3rd LEVEL
NOTES:
9.23 | ALTERNATIVE SOLUTIONS | [7 empty] | [A]1.2.1.1. and [C]2.1.
9.24 | NOTES
|  | 1 | ALL REFERENCES ARE TO DIVISION B OF THE OBC UNLESS PRECEDED BY [A] FOR DIVISION A AND [C] FOR DIVISION C
Ontario Building Code Data Matrix, Part 9
© Ontario Association of Architects
For Site Plan Agreement/Approval (SPA) purposes, consider attaching items 9.01 through 9.13, 9.15, and 9.20 of this form to the SPA submission.

## Part10
2024 ONTARIO BUILDING CODE DATA MATRIX | [6 empty] | Issued: 2025 01 01 | Notes:
PART 10 - CHANGE OF USE | [6 empty] | OBC REFERENCE [1]
Name of Practice
Address 1
Address 2
Contact
Name of Project
Location/Address
| Date |  |  |  | Seal & Signature
10 | BUILDING CODE VERSION | O.Reg. 163/24 |  | LAST CODE AMENDMENT | O.Reg. 447/24
10.01 | PROJECT TYPE | Change of Use |  |  |  |  | [A]1.3.3.3.A, and
[C]1.3.1.4.
10.02 | MAJOR OCCUPANCY CLASSIFICATION | OCCUPANCY |  |  | USE |  | 3.1.2.1.(1), 2.1.4.1.(1),
|  |  | Select occupany group/division from in-cell drop-down list to the left. |  |  |  | 10.1.1.2., 10.2.,
|  |  | Select occupany group/division from in-cell drop-down list to the left. |  |  |  | and 11.2.1.
Select occupany group/division from in-cell drop-down list to the left.
10.03 | SUPERIMPOSED MAJOR OCCUPANCIES | - | [If Yes, provide explanation below; add lines as necessary] |  |  |  | 3.2.2.7., and 2.2.1.
10.04 | BUILDING HEIGHT |  | STOREYS ABOVE GRADE |  |  | (m) ABOVE GRADE | [A]1.4.1.2., 3.2.1.1., and
|  |  | STOREYS BELOW GRADE |  |  |  | 2.2.2.2.
10.05 | NUMBER OF STREETS/ FIRE FIGHTER ACCESS | - | STREETS(S) |  |  |  | 3.2.2.10., 3.2.5., and 2.2.4.1.
10.06 | BUILDING SIZE | - |  |  |  |  | T.11.2.1.1.B-N, 11.2.1.1.(4), 10.2.1.2., and 11.2
10.07 | EXISTING BUILDING CLASSIFICATION | CHANGE IN MAJOR OCCUPANCY |  |  | - |  | 10.1.1..2., and 11.2.1.1.
|  | CONSTRUCTION INDEX |  |  | - |  | 10.2.1.2, and 11.2.1.1.
|  | HAZARD INDEX |  |  | - |  | 11.2.1.2. and 11.2.1.3
|  | IMPORTANCE CATEGORY |  | - |  |  | 4.1.2.1.(3), 2.3.1., and T4.1.2.1.B.
10.08 | OCCUPANT LOAD | FLOOR LEVEL/AREA |  | OCCUPANCY TYPE | BASED ON | OCCUPANT LOAD (PERSONS) | 3.1.17. and 2.1.2.2.
-
-
-
|  | TOTAL |  |  |  | 0
10.09 | REDUCTION IN PERFORMANCE LEVEL | - |  |  |  |  | 10.3.2.2.
|  | - |  |  | [Provide a brief description here or hide this row if not needed.]
|  | - |  |  | [Provide a brief description here or hide this row if not needed.]
|  | - |  |  | [Provide a brief description here or hide this row if not needed.]
10.1 | COMPLIANCE ALTERNATIVES PROPOSED | - |  |  |  |  | 10.4.1.1. and T11.5.1.1.A-F
[List Compliance Alternative numbers here and provide a brief description or hide this row if not needed.]
[List Compliance Alternative numbers here and provide a brief description or hide this row if not needed.]
[List Compliance Alternative numbers here and provide a brief description or hide this row if not needed.]
10.11 | ALTERNATIVE SOLUTIONS | [5 empty] | [A]1.2.1.1. and [C]2.1.
10.12 | NOTES
|  | 1 | ALL REFERENCES ARE TO DIV.B OF THE OBC UNLESS PRECEDED BY [A] FOR DIVISION A AND [C] FOR DIVISION C
Ontario Building Code Data Matrix, Part 10
© Ontario Association of Architects

## Part11
2024 ONTARIO BUILDING CODE DATA MATRIX | [6 empty] | Issued: 2025 01 01 | Notes:
PART 11 - RENOVATION | [6 empty] | OBC REFERENCE [1]
Name of Practice
Address 1
Address 2
Contact
Name of Project
Location/Address
| Date |  |  |  | Seal & Signature
11 | BUILDING CODE VERSION | O.Reg. 163/24 |  | LAST CODE AMENDMENT | O.Reg. 447/24
11.01 | PROJECT TYPE | - |  |  | [Provide further description below.] |  | [A] 1.3.3.3.B
11.02 | MAJOR OCCUPANCY CLASSIFICATION | OCCUPANCY |  |  | USE |  | 3.1.2.1.(1), 11.2.1. and 2.1.4.1.(1)
Select occupany group/division from in-cell drop-down list to the left.
Select occupany group/division from in-cell drop-down list to the left.
Select occupany group/division from in-cell drop-down list to the left.
11.03 | SUPERIMPOSED MAJOR OCCUPANCIES | - | [If Yes, provide explanation below; add lines as necessary] |  |  |  | 11.2., 2.2.1., and 3.2.2.5. to 3.2.2.8.
11.04 | BUILDING AREA (m²) | DESCRIPTION |  | EXISTING | NEW | TOTAL | [A] 1.4.1.2., 11.2., and 11.3.
0
0
0
|  | TOTAL |  | 0 | 0 | 0
11.05 | BUILDING HEIGHT |  | STOREYS ABOVE GRADE |  |  | (m) ABOVE GRADE | [A]1.4.1.2., 2.2.2.2.,
|  |  | STOREYS BELOW GRADE |  |  |  | 3.2.1.1., and 11.3.
11.06 | NUMBER OF STREETS/ FIRE FIGHTER ACCESS | - | STREETS(S) |  |  |  | 3.2.2.10., 3.2.5., 2.2.4.1., and 11.3.
11.07 | BUILDING SIZE | - |  |  |  |  | 11.2.1.1., and T.11.2.1.1.B-N
11.08 | EXISTING BUILDING CLASSIFICATION | CHANGE IN MAJOR OCCUPANCY |  |  | - |  | 10.1.1.2., and 11.2.1.1.
|  | CONSTRUCTION INDEX |  |  | - |  | T.11.2.1.1.A.
|  | HAZARD INDEX |  |  | - |  | T.11.2.1.1.B-N
|  | IMPORTANCE CATEGORY |  |  | - |  | 4.1.2.1.(3), 2.3.1., and 5.2.2.1.(2)
11.09 | RENOVATION TYPE | - |  |  |  |  | 11.3.3.1., and 11.3.3.2.
11.1 | OCCUPANT LOAD | FLOOR LEVEL/AREA |  | OCCUPANCY TYPE | BASED ON | OCCUPANT LOAD (PERSONS) | 3.1.17., 2.1.2.2., and 11.4.2.2.
-
-
-
|  | TOTAL |  |  |  | 0
11.11 | PLUMBING FIXTURE REQUIREMENTS | RATIO: | MALE:FEMALE = 50:50 EXCEPT AS NOTED OTHERWISE |  |  |  | 3.7.4., 11.3.4., 11.3.5., 11.4.2.4., and 11.4.2.5.
a |  | FLOOR LEVEL/AREA | OCCUPANT LOAD | OBC REFERENCE | WCs REQUIRED | WCs PROVIDED
11.11 | PLUMBING FIXTURE REQUIREMENTS continued | FLOOR LEVEL/AREA (repeated | BARRIER-FREE WCs REQUIRED | BARRIER-FREE WCs PROVIDED | UNIVERSAL WASHROOMS REQUIRED | UNIVERSAL WASHROOMS PROVIDED | Tables 3.8.2.3.A, and 3.8.2.3.B
b
11.12 | BARRIER-FREE DESIGN | - |  |  |  |  | 11.3.1.2., 11.3.2., and 11.3.3.2.
| BARRIER-FREE ENTRANCES | - | Insert number to the left and provide an explanation here
11.13 | REDUCTION IN PERFORMANCE LEVEL | STRUCTURAL |  |  | - |  | 11.4.2.1.
[Provide a brief description here or hide this row if not needed.]
|  | INCREASE IN OCCUPANT LOAD |  |  | - |  | 11.4.2.2.
[Provide a brief description here or hide this row if not needed.]
|  | CHANGE OF MAJOR OCCUPANCY |  |  | - |  | 11.4.2.3.
[Provide a brief description here or hide this row if not needed.]
|  | PLUMBING |  |  | - |  | 11.4.2.4.
[Provide a brief description here or hide this row if not needed.]
|  | SEWAGE SYSTEMS |  |  | - |  | 11.4.2.5.
[Provide a brief description here or hide this row if not needed.]
|  | EXTENSION OF BUILDINGS OF COMBUSTIBLE CONSTRUCTION |  |  |  | - | 11.4.2.6.
[Provide a brief description here or hide this row if not needed.]
11.14 | COMPENSATING CONSTRUCTION | COMPENSATING CONSTRUCTION PROVIDED |  |  | - |  | 11.4.3.1.
[Provide a brief description here or hide this row if not needed.]
|  | STRUCTURAL |  |  |  |  | 11.4.3.2.
[Provide a brief description here or hide this row if not needed.]
|  | INCREASE IN OCCUPANT LOAD |  |  | - |  | 11.4.3.3.
[Provide a brief description here or hide this row if not needed.]
|  | CHANGE OF MAJOR OCCUPANCY |  |  | - |  | 11.4.3.4.
[Provide a brief description here or hide this row if not needed.]
|  | PLUMBING |  |  | - |  | 11.4.3.5.
[Provide a brief description here or hide this row if not needed.]
|  | SEWAGE SYSTEMS |  |  | - |  | 11.4.3.6.
[Provide a brief description here or hide this row if not needed.]
|  | EXTENSION OF BUILDINGS OF COMBUSTIBLE CONSTRUCTION |  |  |  | - | 11.4.3.7.
[Provide a brief description here or hide this row if not needed.]
11.15 | COMPLIANCE ALTERNATIVES PROPOSED | - |  |  |  |  | 11.5.1.
[List Compliance Alternative numbers here and provide a brief description or hide this row if not needed.]
[List Compliance Alternative numbers here and provide a brief description or hide this row if not needed.]
[List Compliance Alternative numbers here and provide a brief description or hide this row if not needed.]
11.16 | ALTERNATIVE SOLUTIONS | [5 empty] | [A]1.2.1.1., and [C]2.1.
11.17 | NOTES
|  | 1 | ALL REFERENCES ARE TO DIVISION B OF THE OBC UNLESS PRECEDED BY [A] FOR DIVISION A AND [C] FOR DIVISION C
Ontario Building Code Data Matrix, Part 11
© Ontario Association of Architects

## Seismic Supp
2024 ONTARIO BUILDING CODE DATA MATRIX | [5 empty] | Issued: 2025 01 01 | Notes:
SEISMIC DESIGN REQUIREMENTS FOR NON-STRUCTURAL ELEMENTS (CATEGORIES 6 TO 22 TABLE 4.1.8.18) | [5 empty] | OBC REFERENCE
1 | IMPORTANCE CATEGORY |  |  | - | - | 2.3.1.1.(2) & (3), 4.1.2.1.(3). & 5.2.2.1.(2)
2 | SITE CLASS, S |  |  | - | - | 4.1.8.4.(3), T.4.1.8.4.-B
3 | 5% SPECTRAL RESPONSE ACCELERATION
|  |  | Sa(0.2) | - |  | 4.1.8.4.(1) & SB-1, T.3. | SB-1 is used for Part 9
|  |  | Sa(0.5) | - |  | 4.1.8.4.(1) & SB-1, T.3.
|  |  | Larger of Sa(0.2) and Sa(0.5) |  | -
|  |  | Sa(1.0) | - |  | 4.1.8.4.(1) & SB-1, T.3.
4 | EARTHQUAKE IMPORTANCE FACTOR (IE ULS) |  |  | 0 |  | T.4.1.8.5.-A
5 | SEISMIC CATEGORY
|  |  | IES(0.2) | - | - | T.4.1.8.5.-B
|  |  | IES(1.0) | - | - | T.4.1.8.5.-B
|  | More severe of IES(0.2) and IES(1.0) |  |  | - | T.4.1.8.5.-B
6 | SEISMIC ISOLATION |  |  |  |  | 4.1.8.19.
|  | IS THE BUILDING SEISMICALLY ISOLATED? |  |  | -
7 | SUPPLEMENTAL ENERGY DISSIPATION |  |  |  |  | 4.1.8.21.
|  | IS A SUPPLEMENTAL ENERGY DISSIPATION SYSTEM USED? |  |  | -
8 | IS SEISMIC DESIGN REQUIRED FOR CATEGORIES 6 TO 22, TABLE 4.1.8.18.? |  |  |  | Required | 4.1.8.18.(2)
|  | REASONING FOR REQUIREMENT: |  |  | NEITHER SC1 NOR SC2.
Fa = site coefficient, as defined in Sentence 4.1.8.4.(7)
IE = earthquake importance factor of the structure, as described in Sentence 4.1.8.5.(1),
Sa(T) = 5% damped spectral response acceleration, expressed as a ratio to gravitational acceleration, for a period of T, as defined in Sentence 4.1.8.4.(1),
T = period in seconds,
ULS = Ultimate limit states

## Part3_SPA (hidden)
2024 ONTARIO BUILDING CODE DATA MATRIX | [7 empty] | Issued: 2025 01 01 |  | TRACKED CHANGES (Including Comments)
PART 3 - FIRE PROTECTION, OCCUPANT SAFETY AND ACCESSIBILITY - For Site Plan Approval | [7 empty] | OBC REFERENCE [1]
| Name of Practice | [8 empty] | Refer to notes on Part 3
Address 1
Address 2
Contact
Name of Project
Location/Address
| Date |  |  |  |  | Seal & Signature
3 | BUILDING CODE VERSION | O.Reg. 332/12 |  |  | LAST AMENDMENT | O.Reg. 762/20
3.01 | PROJECT TYPE | - |  |  |  | [Provide further description below.] |  | [A] 1.1.2.
3.02 | MAJOR OCCUPANCY CLASSIFICATION | OCCUPANCY |  |  |  | USE |  | 3.1.2.1.(1)
|  | - | -
|  | - | -
|  | - | -
3.03 | SUPERIMPOSED MAJOR OCCUPANCIES | - | [If Yes, provide explanation below; add lines as necessary] |  |  |  |  | 3.2.2.7.
-
3.04 | BUILDING AREA (m²) | DESCRIPTION |  |  | EXISTING | NEW | TOTAL | [A] 1.4.1.2.
0
0
0
|  | TOTAL |  |  | 0 | 0 | 0
3.05 | GROSS AREA (m²) | DESCRIPTION |  |  | EXISTING | NEW | TOTAL | [A] 1.4.1.2.
0
0
0
|  | TOTAL |  |  | 0 | 0 | 0
3.06 | MEZZANINE AREA (m²) | DESCRIPTION |  |  | EXISTING | NEW | TOTAL | 3.2.1.1.
0
0
0
|  | TOTAL |  |  | 0 | 0 | 0
3.07 | BUILDING HEIGHT |  | STOREYS ABOVE GRADE |  |  |  | (m) ABOVE GRADE | [A] 1.4.1.2. &
|  |  | STOREYS BELOW GRADE |  |  |  |  | 3.2.1.1.
3.08 | HIGH BUILDING | - | [5 empty] | 3.2.6
3.09 | NUMBER OF STREETS/ FIREFIGHTER ACCESS | - | STREET(S) |  |  |  |  | 3.2.2.10. & 3.2.5.
3.1 | BUILDING CLASSIFICATION | - | - |  |  |  |  | 3.2.2.20-83.
| (SIZE AND CONSTRUCTION RELATIVE TO OCCUPANCY) | - | -
|  | - | -
3.11 | SPRINKLER SYSTEM | - |  | PROVIDED: | - |  |  | 3.2.1.5. &
|  | DESCRIBE | [5 empty] | 3.2.2.17.
3.12 | STANDPIPE SYSTEM | - | [5 empty] | 3.2.9.
3.13 | FIRE ALARM SYSTEM | - |  |  | TYPE PROVIDED | - |  | 3.2.4.
3.14 | WATER SERVICE/ SUPPLY IS ADEQUATE | -
3.15 | CONSTRUCTION TYPE | RESTRICTIONS | - |  |  |  |  | 3.2.2.2.20.-83.
|  | ACTUAL | - |  |  | HEAVY TIMBER CONSTRUCTION | - | 3.2.1.4.
3.16 | IMPORTANCE CATEGORY | - |  |  | - |  |  | 4.1.2.1.(3), T4.1.2.1.B.
3.17 | SEISMIC HAZARD INDEX (IE Fa Sa (0.2)) = | #VALUE! | #VALUE! |  |  |  |  | 4.1.8.18.(1)
|  | 1 | ALL REFERENCES ARE TO DIVISION B OF THE OBC UNLESS PRECEDED BY [A] FOR DIVISION A AND [C] FOR DIVISION C
Ontario Building Code Data Matrix, Part 3 | [7 empty] | August 2018 | * | Adjust month?
© Ontario Association of Architects

## Part9_SPA (hidden)
2024 ONTARIO BUILDING CODE DATA MATRIX | [9 empty] | Issued: 2025 01 01 | TRACKED CHANGES (Including Comments)
PART 9 - HOUSING AND SMALL BUILDINGS | [9 empty] | OBC REFERENCE [1]
| Name of Practice | [9 empty] | Refer to notes on Part 9
Address 1
Address 2
Contact
Name of Project
Location/Address
| Date | [6 empty] | Seal & Signature
9 | BUILDING CODE VERSION |  | O.Reg. 332/12 |  |  |  | LAST AMENDMENT | O.Reg. 191/14
9.01 | PROJECT TYPE |  | - |  |  |  |  | [Provide further description below.] |  | [A] 1.1.2.
9.02 | OCCUPANCY CLASSIFICATION |  | OCCUPANCY |  |  |  |  | USE |  | 9.10.2.
Select occupany group/division from in-cell drop-down list to the left.
|  |  | - | -
Select occupany group/division from in-cell drop-down list to the left.
9.03 | SUPERIMPOSED MAJOR OCCUPANCIES |  | - | [If Yes, provide explanation below; add lines as necessary] | [5 empty] | 9.10.2.3.
*
9.04 | BUILDING AREA (m²) |  | DESCRIPTION |  |  |  | EXISTING | NEW | TOTAL | [A] 1.4.1.2.
0
0
0
|  |  | TOTAL |  |  |  | 0 | 0 | 0
9.05 | GROSS AREA (m²) |  | DESCRIPTION |  |  |  | EXISTING | NEW | TOTAL | [A] 1.4.1.2.
0
0
0
|  |  | TOTAL |  |  |  | 0 | 0 | 0
9.06 | MEZZANINE AREA (m²) |  | DESCRIPTION |  |  |  | EXISTING | NEW | TOTAL | 9.10.4.1.
0
0
0
|  |  | TOTAL |  |  |  | 0 | 0 | 0
9.07 | BUILDING HEIGHT |  |  | STOREYS ABOVE GRADE |  |  |  |  | (m) ABOVE GRADE | [A] 1.4.1.2. & 9.10.4.
STOREYS BELOW GRADE
9.08 | NUMBER OF STREETS/ FIRE FIGHTER ACCESS |  | - | STREET(S) | [5 empty] | 9.10.20.
9.09 | SPRINKLER SYSTEM |  | - |  |  | Provided: | - |  |  | 9.10.8.2.-4.
DESCRIBE
9.1 | FIRE ALARM SYSTEM |  | - |  |  |  | TYPE PROVIDED | - |  | 9.10.18.
9.11 | WATER SERVICE/ SUPPLY IS ADEQUATE |  | -
9.12 | CONSTRUCTION TYPE |  | RESTRICTIONS | - | [5 empty] | 9.10.6.
|  |  | ACTUAL | - |  |  |  | HEAVY TIMBER CONSTRUCTION | -
9.13 | POST-DISASTER BUILDING |  | - | [6 empty] | [A] 1.1.2.2.(2)
9.14 | OCCUPANT LOAD |  | FLOOR LEVEL/AREA |  |  | OCCUPANCY TYPE |  | BASED ON | OCCUPANT LOAD (PERSONS) | 3.1.17.
-
-
-
|  |  | TOTAL | [5 empty] | 0
9.15 | BARRIER-FREE DESIGN |  | - | [6 empty] | 9.5.2.
9.16 | HAZARDOUS SUBSTANCES |  | - | [6 empty] | 9.10.1.3.
9.17 | REQUIRED FIRE RESISTANCE RATINGS |  | HORIZONTAL ASSEMBLY |  |  |  | FIRE RESISTANCE RATING (H) | SUPPORTING ASSEMBLY (H) |  | 9.10.8.
FLOORS EXCEPT CRAWLSPACE
MEZZANINE
ROOF
9.18 | SPATIAL SEPARATION |  | WALL | EBF AREA (m2) | L.D. (m) | * | REQUIRED FRR (H) | CONSTRUCTION TYPE | CLADDING TYPE
[8 empty] | - | -
[8 empty] | - | -
[8 empty] | - | -
[8 empty] | - | -
9.19 | PLUMBING FIXTURE REQUIREMENTS |  | RATIO: | MALE:FEMALE = 50:50 EXCEPT AS NOTED OTHERWISE | [5 empty] | 9.31. & 3.7.4.
|  |  | FLOOR LEVEL/AREA |  | OCCUPANT LOAD |  | OBC SENTENCE | FIXTURES REQUIRED | FIXTURES PROVIDED
9.2 | ENERGY EFFICIENCY | RESIDENTIAL | COMPLIANCE OPTION: |  |  |  | - |  |  | 12.2.1.
PROJECT DESIGN CONDITIONS
|  |  | CLIMATIC ZONE |  |  |  | -
|  |  | FENESTRATION |  |  | GROSS ABOVE GRADE WALL OR ROOF AREA (m²) |  | GROSS FENESTRATION AREA (m²) | FENESTRATION RATIO
|  |  | VERTICAL (W+D) | [5 empty] | <---- Input values.
|  |  | SKYLIGHTS | [5 empty] | <---- Input values.
|  |  | SPACE HEATING FUEL |  |  |  |  | -
|  |  | HEATING EQUIPMENT EFFICIENCY |  |  |  |  | - |  | *
|  |  | OTHER CONDITIONS |  |  |  |  | - |  | *
|  |  | COMPLIANCE PACKAGE |  |  |  |  | - |  | *
9.21 | NOTES
|  |  | 1 | ALL REFERENCES ARE TO DIVISION B OF THE OBC UNLESS PRECEDED BY [A] FOR DIVISION A AND [C] FOR DIVISION C
Ontario Building Code Data Matrix, Part 9 | [9 empty] | * April 2017 | Adjust month?
© Ontario Association of Architects

## SS_Interpolation
2024 ONTARIO BUILDING CODE DATA MATRIX | [5 empty] | Issued: 2025 01 01 | Notes:
SPATIAL SEPARATION INTERPOLATION SUPPLEMENT | [5 empty] | OBC 3.2.3.1.
Copy the table for each interpolated exposing building face.
Enter values in all the yellow cells.
Actual Exposing Building Face (m²): |  | (1) | <-- Input actual EBF | EBF: | Exposing building face
Actual Limiting Distance (m): |  | (2) | <-- Input actual LD | LD: | Limiting distance
|  |  |  | UPO: | Unprotected opening percentage (max.)
Limiting Distances from the Tables Less Than and More Than the Actual Limiting Distance from the Drawings.
|  |  | LD_1 (< m actual) | LD_2 (> m actual)
Limiting Distance from OBC Tables:
| Area of Exposing Building Face from OBC Tables |  | Max. Area of Unprotected Openings at LD_1 | Max. Area of Unprotected Openings at LD_2
EBF_1 (< m2 actual):
EBF_2 (> m2 actual):
| Intermediate Interpolated Unprotected Opening % Values: |  | Input missing | Input missing
| Final Interpolated Unprotected Opening % Value: |  | Input missing

## Lookups
2024 ONTARIO BUILDING CODE DATA MATRIX | [6 empty] | Issued: 2025 01 01 | Notes:
MATRIX LOOKUPS + DATA VALIDATION LISTS
PROJECT TYPE
Table = "Tbl_ProType"
DV_ProType
-
New Construction
Addition
Renovation
Addition and Renovation
Change of Use
SUPER-IMPOSED MAJOR OCCUPANCIES |  | IMPORTANCE CATEGORY
Table = "Tbl_YesNo" |  | Table = "Tbl_ImportanceCat" |  |  | Table = "Tbl_ImpLow" | Table="Tbl_ImpHigh"
DV_YesNo |  | DV_Importance | Column2 | Column3 | DV_ImportanceLow | DV_ImportanceHigh | DV_ImportanceN
- |  | - |  | 0 | - | -
YES |  | Low | DV_ImportanceLow | 0.8 | Low Human Occupancy | Post-disaster Shelter
NO |  | Normal | DV_ImportanceN | 1 | Minor Storage Building | Explosive or Hazardous Substances
N/A |  | High | DV_ImportanceHigh | 1.3
|  | Post-Disaster |  | 1.5
BUILDING CLASSIFICATION |  | Importance Category Modifier:
Drop-down list test: |  | DV_ImportanceLow | Part3
| Select OBC classification from in-cell drop-down list to the left. | 0 | Seismic Supp
Classification drop-down list data validation modifiers (DV_OccClass names):
DV_OccClass_0
DV_OccClass_0
DV_OccClass_0
DV_OccClass_0
DV_OccClass_0
Table = 'Tbl_0"
DV_OccClass | VL_OccClass
- | - | SEISMIC CATEGORIES FOR BUILDINGS
Table = "Tbl_A1" |  | Table = "Tbl_SeismicCat.2"
DV_OccClass | VL_OccClass | DV_IES.2 | VL_SeismicCat.2
- | - | - | -
3.2.2.20. | Group A, Division 1, Any Height, Any Area, Sprinklered | 0 | SC1
3.2.2.21. | Group A, Division 1, 1 Storey, Limited Area, Sprinklered | 0.2 | SC2
3.2.2.22. | Group A, Division 1, 1 Storey, Sprinklered | 0.35 | SC3
|  | 0.75 | SC3
|  | 0.75 | SC4
Table = "Tbl_A2"
DV_OccClass | VL_OccClass | Table = "Tbl_SeismicCat1"
- | - | DV_IES1 | VL_SeismicCat1
3.2.2.23. | Group A, Division 2, Any Height, Any Area, Sprinklered | - | -
3.2.2.24. | Group A, Division 2, up to 6 Storeys, Any Area, Sprinklered | 0 | SC1
3.2.2.25. | Group A, Division 2, up to 2 Storeys | 0.1 | SC2
3.2.2.26. | Group A, Division 2, up to 2 Storeys, Increased Area, Sprinklered | 0.2 | SC2
3.2.2.27. | Group A, Division 2, up to 2 Storeys, Sprinklered | 0.3 | SC3
3.2.2.28. | Group A, Division 2, 1 Storey | 0.3 | SC4
3.2.2.93 | Group A, Division 2, Encapsulated mass timber,Various Heights and Areas, Sprinklered
Table = "Tbl_A3" |  | SS Reasoning for requirment
DV_OccClass | VL_OccClass | Item | Value | Text | Length After | Punctuation
- | -
3.2.2.29. | Group A, Division 3, Any Height, Any Area, Sprinklered | SEISMIC CATEGORY | - | NEITHER SC1 NOR SC2 | 0 | .
3.2.2.30. | Group A, Division 3, up to 2 Storeys | ImpCat | - |  | 0
3.2.2.31. | Group A, Division 3, up to 2 Storeys, Sprinklered | SEISMIC ISOLATION | - |  | 0
3.2.2.32. | Group A, Division 3, 1 Storey, Increased Area | SUPPLEMENTAL ENERGY DISSIPATION | - |  | 0
3.2.2.33. | Group A, Division 3, 1 Storey, Sprinklered
3.2.2.34. | Group A, Division 3, 1 Storey | NEITHER SC1 NOR SC2.
Table = 'Tbl_A4" |  | Table = "Tbl_SB12"
DV_OccClass | VL_OccClass | DV_Zone1 | DV_Zone2 |  | DV_ZoneSelected
- | - | - | - |  | -
3.2.2.35. | Group A, Division 4 | A1 | A1 |  | A1
|  | A2 | A2 |  | A2
|  | A3 | A3 |  | A3
Table = "Tbl_B1" |  | A4 | A4 |  | A4
DV_OccClass | VL_OccClass | A5 | A5 |  | A5
- | - | A6 | A6 |  | A6
3.2.2.36. | Group B, Division 1, Any Height, Any Area, Sprinklered | B1 | B1 |  | B1
3.2.2.37. | Group B, Division 1, up to 3 Storeys, Sprinklered | B2 | B2 |  | B2
|  | B3 | B3 |  | B3
|  | B4 | B4 |  | B4
Table = "Tbl_B2" |  | B5 | B5 |  | B5
DV_OccClass | VL_OccClass | B6 | B6 |  | B6
- | - | C1 | C1 |  | C1
3.2.2.38. | Group B, Division 2, Any Height, Any Area, Sprinklered | C2 | C2 |  | C2
3.2.2.39. | Group B, Division 2, up to 3 Storeys, Sprinklered | C3 |  |  | C3
3.2.2.40. | Group B, Division 2, up to 2 Storeys, Sprinklered | C4 |  |  | C4
3.2.2.41. | Group B, Division 2, 1 Storey, Sprinklered
SITE CLASSES
Table = "Tbl_B3" |  | Table = "Tbl_SiteClass"
DV_OccClass | VL_OccClass | DV_SiteClass | VL_GroundProfile
- | - | - | -
3.2.2.42. | Group B, Division 3, Any Height, Any Area, Sprinklered | A | Hard rock
3.2.2.43. | Group B, Division 3, up to 3 Storeys, (Noncombustible), Sprinklered | B | Rock
3.2.2.44. | Group B, Division 3, up to 3 Storeys, Sprinklered | C | Very dense soil and soft rock
3.2.2.45. | Group B, Division 3, up to 2 Storeys, Sprinklered | D | Stiff soil
3.2.2.46. | Group B, Division 3, 1 Storey, Sprinklered | E | Soft soil
3.2.2.93 | Group B, Division 3, Encapsulated mass timber,Various Heights and Areas, Sprinklered | F | Other soils
Table = "Tbl_B4" | NOT USED in OBC for NBC
DV_OccClass | VL_OccClass
- | -
3.2.2.xx. | Group B, Division 2 or Division 3, Any Height, Any Area, Sprinklered
3.2.2.xx. | Group B, Division 2 or Division 3, up to 3 Storeys, Sprinklered
3.2.2.xx. | Group B, Division 2 or Division 3, up to 2 Storeys, Sprinklered
3.2.2.xx. | Group B, Division 2 or Division 3, 1 Storey, Sprinklered
SPRINKLER SYSTEM
Table = "Tbl_C" |  | Table = "Tbl_SprinklerReqd"
DV_OccClass | VL_OccClass | DV_SprinklerReqd
- | - | -
3.2.2.47. | Group C, Any Height, Any Area, Sprinklered | Required
3.2.2.48. | Group C, up to 12 Storeys, Sprinklered | Not Required
3.2.2.49. | Group C, up to 6 Storeys, Sprinklered, Noncombustible Construction
3.2.2.50. | Group C, up to 4 Storeys, Noncombustible Construction
3.2.2.51. | Group C, up to 6 Storeys, Sprinklered, Combustible Construction
3.2.2.52. | Group C, up to 4 Storeys, Sprinklered
3.2.2.53. | Group C, up to 3 Storeys, Increased Area
3.2.2.54. | Group C, up to 3 Storeys
3.2.2.55. | Group C, up to 3 Storeys, Sprinklered
3.2.2.55A. | Group C, Retirement Home, Any Height, Any Area, Sprinklered
3.2.2.55B. | Group C, Retirement Home, up to 4 Storeys, Sprinklered, Increased Area
3.2.2.55C. | Group C, Retirement Home, up to 4 Storeys, Sprinklered
3.2.2.55D. | Group C, Retirement Home, up to 3 Storeys, Sprinklered, Noncombustible Construction
3.2.2.55E. | Group C, Retirement Home, up to 3 Storeys, Sprinklered, Combustible Construction
3.2.2.93. | Group C, Encapsulated mass timber,Various Heights and Areas, Sprinklered
SPRINKLER SYSTEM
Table = "Tbl_D" |  | Table = "Tbl_SprinklerStd"
DV_OccClass | VL_OccClass | DV_SprinklerStd
- | - | -
3.2.2.56. | Group D, Any Height, Any Area | 13
3.2.2.57. | Group D, up to 12 Storeys, Sprinklered | 13D
3.2.2.58. | Group D, up to 6 Storeys | 13R
3.2.2.59. | Group D, up to 6 Storeys, Sprinklered, Noncombustible Construction | N/A
3.2.2.60. | Group D, up to 6 Storeys, Sprinklered
3.2.2.61. | Group D, up to 4 Storeys, Sprinklered
3.2.2.62. | Group D, up to 3 Storeys
3.2.2.63. | Group D, up to 3 Storeys, Sprinklered
3.2.2.64. | Group D, up to 2 Storeys
3.2.2.65. | Group D, up to 2 Storeys, Sprinklered
3.2.2.93 | Group D, Encapsulated mass timber,Various Heights and Areas, Sprinklered
SPRINKLER SYSTEM
Table = 'Tbl_E" |  | Table = "Tbl_Sprinkler"
DV_OccClass | VL_OccClass | DV_Sprinkler
- | - | -
3.2.2.66. | Group E, Any Height, Any Area, Sprinklered | Entire Building
3.2.2.67. | Group E, up to 4 Storeys, Sprinklered | Selected Compartments
3.2.2.68. | Group E, up to 3 Storeys | Selected Floor Areas
3.2.2.69. | Group E, up to 3 Storeys, Sprinklered | Basement
3.2.2.70. | Group E, up to 2 Storeys | N/A
3.2.2.71. | Group E, up to 2 Storeys, Sprinklered | None
3.2.2.93 | Group E, Encapsulated mass timber,Various Heights and Areas, Sprinklered
OCCUPANT LOAD
Table = "Tbl_F1" |  | Table = "Tbl_OccLoad"
DV_OccClass | VL_OccClass | DV_OccLoad
- | - | -
3.2.2.72. | Group F, Division 1, up to 4 Storeys, Sprinklered | m² per person
3.2.2.73. | Group F, Division 1, up to 3 Storeys, Sprinklered | Design of space
3.2.2.74. | Group F, Division 1, up to 2 Storeys, Sprinklered | Number of seats
3.2.2.75. | Group F, Division 1, 1 Storey | No. of sleeping rooms
No. of parking spaces
Table = "Tbl_F2"
DV_OccClass | VL_OccClass
- | -
3.2.2.76. | Group F, Division 2, Any Height, Any Area, Sprinklered
3.2.2.77. | Group F, Division 2, up to 4 Storeys, Increased Area, Sprinklered
3.2.2.78. | Group F, Division 2, up to 3 Storeys
3.2.2.79. | Group F, Division 2, up to 4 Storeys, Sprinklered
3.2.2.80. | Group F, Division 2, up to 2 Storeys
3.2.2.81. | Group F, Division 2, up to 2 Storeys, Sprinklered
3.2.2.93. | Group F, Division 2, Encapsulated mass timber,Various Heights and Areas, Sprinklered
CONSTRUCTION TYPES
Table = "Tbl_F3" |  | Table = "Tbl_ConstType
DV_OccClass | VL_OccClass | DV_ConstRestrictions | DV_ConstActual | DV_SSConstType | DV_SSCladType | DV_ConstActualPt2
- | - | - | - | - | - | -
3.2.2.82. | Group F, Division 3, Any Height, Any Area, Sprinklered | Combustible Permitted | Combustible | Combustible Permitted | Combustible Permitted | Combustible
3.2.2.83. | Group F, Division 3, up to 6 Storeys | Noncombustible Required | Noncombustible | Noncombustible Req'd | Noncombustible Req'd | Noncombustible
3.2.2.84. | Group F, Division 3, up to 6 Storeys, Sprinklered | Encapsulated Mass Timber Permitted | Comb. & Noncomb. in Combination | Encapsulated Mass Timber Permitted |  | Comb. & Noncomb. in Combination
3.2.2.85. | Group F, Division 3, up to 4 Storeys |  | Encapsulated Mass Timber |  |  | -
3.2.2.86. | Group F, Division 3, up to 4 Storeys, Sprinklered |  | EMT & Noncomb. in Combination |  |  | -
3.2.2.87. | Group F, Division 3, up to 2 Storeys
3.2.2.88. | Group F, Division 3, up to 2 Storeys, Sprinklered
3.2.2.89. | Group F, Division 3, 1 Storey
3.2.2.90. | Group F, Division 3, 1 Storey, Sprinklered
3.2.2.91. | Group F, Division 3, 1 Storey, Any Area, Low Fire Load Occupancy
3.2.2.92. | Group F, Division 3, Storage Garages up to 22 m High
3.2.2.93. | Group F, Division 3, Encapsulated mass timber,Various Heights and Areas, Sprinklered
MAJOR AND SUBSIDIARY OCCUPANCIES
Drop-down list test:
E | Select occupany group/division from in-cell drop-down list to the left.
BUILDING CLASSIFICATION
Drop-down list test:
Select OBC classification from in-cell drop-down list to the left.
10% or 40% Mezzanine Type
Table = "Tbl_MezzType"
DV_MezzType
Select applicable
N/A
≤10% Mezzanine
≤40% Mezzanine
Table = Tbl_FAType
DV_FAType
-
Single stage
Two stage
Other
None

## LookupPt2
Table = "Tbl_MajorOcc2"
DV_OccGroup2 | VL_OccName2 | DV_OccClass_Name2
- | - | DV_OccClass_G0
G1 | High-hazard Agricultural Occupancies | DV_OccClass_G1
G2 | Agricultural Occupancies not Elsewhere Classified in Group G | DV_OccClass_G2
G3 | Greenhouse Agricultural Occupancies | DV_OccClass_G3
G4 | Agricultural Occupancies with no Human Occupants | DV_OccClass_G4
None
Applicable Code
Table = "Tbl_ApplicCode"
DV_ApplicCode
Select applicable code
OBC 2024, Part 2
National Farm Building Code of Canada
Part 2
Table = "Tbl_G0"
DV_OccClass | VL_OccClass
- | -
Table = "Tbl_G1"
DV_OccClass | VL_OccClass
- | -
2.2.2.3 | Group G, Division 1, Up to 3 Storeys, Limited Area, Sprinklered
2.2.2.4 | Group G, Division 1, 1 Storey
Table = "Tbl_G2"
DV_OccClass | VL_OccClass
- | -
2.2.2.5 | Group G, Division 2, Any Height, Any Area, Sprinklered
2.2.2.6 | Group G, Division 2, Up to 3 Storeys, Any Area
Table = "Tbl_G3"
DV_OccClass | VL_OccClass
- | -
2.2.2.7 | Group G, Division 3, One Storey, Any Area
Table = "Tbl_G4"
DV_OccClass | VL_OccClass
- | -
2.2.2.8 | Group G, Division 4, Any Height, Any Area
Importance Category Part 2
Table = "TblImpCatPt2
DV_ImpCatPt2 | Column2 | DV_ImpCatLowPt2 | DV_ImpCatNormPt2 | Column1 | DV_ImpCatHighPt2 | DV_ImpCatPostDisPt2
- |  | - | - |  | - | -
Low | DV_ImpCatLowPt2 | Low human occupancy | Liquid manure storage tanks |  | - | -
Normal | DV_ImpCatNormPt2 | - | - |  | - | -
High | DV_ImpCatHighPt2
Post-disaster
ImpCatPt2Lookup
DV_ImpCatLowPt2
Classification drop-down list data validation modifiers (DV_OccClass names):
DV_OccClass_G0
DV_OccClass_G0
DV_OccClass_G0
DV_OccClass_G0
DV_OccClass_G0

## LookupPt3
MAJOR AND SUBSIDIARY OCCUPANCIES
Drop-down list test:
G3 | Greenhouse Agricultural Occupancies
Table = "Tbl_MajorOcc3"
DV_OccGroup | VL_OccName | DV_OccClass_Name
- | - | DV_OccClass_0
A1 | Performing Arts (Viewing and Production) | DV_OccClass_A1
A2 | Other assembly occupancies | DV_OccClass_A2
A3 | Arenas | DV_OccClass_A3
A4 | Open-Air Assemblies | DV_OccClass_A4
B1 | Detention Occupancies | DV_OccClass_B1
B2 | Care and Treatment Occupancies | DV_OccClass_B2
B3 | Care Occupancies | DV_OccClass_B3
C | Residential | DV_OccClass_C
D | Business & Personal Services | DV_OccClass_D
E | Mercantile | DV_OccClass_E
F1 | High Hazard Industrial | DV_OccClass_F1
F2 | Medium Hazard Industrial | DV_OccClass_F2
F3 | Low Hazard Industrial | DV_OccClass_F3
G1 | High-hazard Agricultural Occupancies | DV_OccClass_G1
G2 | Agricultural Occupancies not Elsewhere Classified in Group G | DV_OccClass_G2
G3 | Greenhouse Agricultural Occupancies | DV_OccClass_G3
G4 | Agricultural Occupancies with no Human Occupants | DV_OccClass_G4
None

## LookupPt9
Table = "Tbl_MajorOcc9"
DV_OccGroup9 | VL_OccName9
- | -
C | Residential
D | Business & Personal Services
E | Mercantile
F2 | Medium Hazard Industrial
F3 | Low Hazard Industrial
Table = "Tbl_EnergyCat9" |  | Table = "Tbl_EECompliance9R"
DV_EnergyCat9 | DV_EnergyCatName | DV_EECompliance9R | DV_EECompliance9NR
- | - | - | -
RESIDENTIAL | DV_EECompliance9R | SB-12 Prescriptive Compliance Packages | SB-10 Prescriptive (Div.4)
NONRESIDENTIAL | DV_EECompliance9NR | SB-12 Performance Compliance | SB-10 Prescriptive (Div.2)
|  | SB-12 Other: Energy Star for New Homes | SB-10 Performance (Div.2)
EnerGuide for New Houses
Table = 'Tbl_ClimaticZone |  | Compliance Option Modifier:
DV_ClimaticZone |  | Select Energy Efficiency Type First.
-
Zone 1 (< 5000 Degree Days)
Zone 2 (≥ 5000 Degree Days)
Table = "Tbl_Heating"
DV_Heating
-
≥ 92% AFUE
≥ 84% < 92% AFUE
Table = "Tbl_Fuel"
DV_Fuel
-
Natural Gas
Propane
Oil
Solid Fuel
Electricity
Earth Energy
Table = "OtherConditions"
DV_OtherConditions
-
ICF Basement
ICF Above Grade
Walk-out Basement
Slab-on-Ground
Log/Post & Beam
Blown-in Insulation Above Grade Wall
Spray-applied Foam Insulation Above Grade Wall
Drain Water Heat Recovery Unit Provided
Table = "SoundXmission"
DV_SoundXmission
-
Min. STC rating of 50 based on SB-3 and 9.11.1.4
Min. STC rating of 50 tested to ASTM E90 and 9.11.1.4
Min. STC rating of 47 measured to ASTM E336 as per 5.8.1.2.(2)(a)
Min. STC rating of 47 in accordance with 5.8.1.4 (detailed method)
Min. STC rating of 47 in accordance with 5.8.1.4 / .5 (simplified method)
Table = "Tbl_Construction"
DV_Construction
-
Light Construction
Heavy Construction
Table = "Tbl_WindPressure"
DV_WindPressure
-
Less than 0.80
Less than 1.20
Equal to or more than 1.20
Updated to SB-12 revision
Table = "Tbl_DesignTo"
DV_DesignTo
-
Prescriptive requirements of Articles 9.23.16.2., 9.27., and 9.29.
Prescriptive requirements of Articles 9.23.13.4. to 9.23.13.7.
Part 4
Good engineering practice

## LookupPt1X
Part 10
Table = "PerformanceReduction
DV_PerformanceReduction
-
Structural roof framing system:
Structural floor framing system:
Early warning and evacuation system:
Change in use/major occupancy:
Hazard Index : Construction Index:
Change to residential occupancy:
Multiple occupancy fire separations:
Non-compliance with 2.2.1.2., 3.1.3.2., or 9.10.9.14.:
Change to sanitary flow/discharge:
Use changed to retirement home:
Other:
Part 11
Part 11 PROJECT TYPE
Table = "Tbl_P11ProType"
DV_P11ProType
-
Addition
Renovation
Addition and Renovation
Change of Use
PART 11 BUILDING SIZE
Table = "Tbl_BldgSize"
DV_BldgSize
-
SMALL
MEDIUM
LARGE
> LARGE
PART 11 CONSTN/HAZARD INDEX
Table = "Tbl_Index"
DV_Index
-
1
2
3
4
5
6
7
NOT APPLICABLE