| Name of Practice: Enter address and contact information here. Name of Project: Enter name here. Location: Enter address here. # Date: # Enter date here. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # 2024 Ontario Building Code Data Matrix # Part 3 – Fire Protection, Occupant Safety and Accessibility |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # Building Code Reference1 |  |  |
| 3.00 | Building Code Version: | O. Reg. 163/24 |  |  |  |  |  |  |  |  |  |  | Last Amendment |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | O. Reg. 119/26 |  |  |  |  |  |  |  |  |  |
| 3.01 | Project Type: | ☐ New Construction ☐ Addition ☐ Renovation ☐ Change of use ☐ Addition and renovation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | [A] 1.3.3.2. |  |  |
|  |  | Description: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.02 | Major Occupancy Classification: | Occupancy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.1.2. |  |  |
| 3.03 | Superimposed Major Occupancies: | ☐ No ☐ Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.2.2.7. |  |  |
|  |  | Description: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.04 | Building Area (m2) Insert additional lines as needed | Description: Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Existing 0 0 0 0 0 |  |  |  |  |  |  |  |  | New 0 0 0 0 0 |  |  |  | Total 0 0 0 0 0 |  |  | [A] 1.4.1.2. |  |  |
| 3.05 | Gross Area (m2) Insert additional lines as needed | Description: Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Existing 0 0 0 0 0 |  |  |  |  |  |  |  |  | New 0 0 0 0 0 |  |  |  | Total 0 0 0 0 0 |  |  | [A] 1.4.1.2. |  |  |
| 3.06 | Mezzanine Area (m2) Insert additional lines as needed | Description: Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Existing 0 0 0 0 0 |  |  |  |  |  |  |  |  | New 0 0 0 0 0 |  |  |  | Total 0 0 0 0 0 |  |  | 3.2.1.1. |  |  |
| 3.07 | Building Height | 0 0 |  |  |  | Storeys above grade Storeys below grade |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0 |  |  |  |  |  |  |  |  | (m) Above grade |  |  |  |  |  | [A] 1.4.1.2. & 3.2.1.1. |  |  |
| 3.08 | High Building | ☐ No ☐ Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.2.6. |  |  |
| 3.09 | Number of Streets/ Firefighter access | 0 street(s) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.2.2.10. & 3.2.5. |  |  |
| 3.10 | Building Classification: (Size & Construction Relative to Occupancy) | 3.2.2. |  |  |  |  |  |  | Group/Div |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.2.2.20 - 93. |  |  |
| 3.11 | Sprinkler System | ☐ Required ☐ Not Required Provided: ☐ entire building ☐ selected compartments ☐ selected floor areas ☐ basement ☐ in lieu of roof rating ☐ none Description: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.2.1.5. & 3.2.2.18., .21., .22., .29., 3.2.4.1., 3.2.4.9., 3.2.4.15., and 3.2.5.12. to .14. |  |  |
| 3.12 | Standpipe System | ☐ Not required ☐ Required |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.2.5.8 - 11. |  |  |
| 3.13 | Fire Alarm System | ☐ Required ☐ Not required Type Provided: ☐ Single stage ☐ Two stage ☐ None |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.2.4. |  |  |
| 3.14 | Water Service / Supply is Adequate | ☐ No ☐ Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.2.5.7. |  |  |
| 3.15 | Construction Type: | Restriction: ☐ Combustible permitted ☐ Non-combustible required ☐ Encapsulated mass timber permitted Actual: ☐ Combustible ☐ Non-combustible ☐ Combination of combustible and non-combustible ☐ Encapsulated mass timber ☐ Combination of encapsulated mass timber and non-combustible Heavy Timber Construction: ☐ No ☐ Yes |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.2.2.20.- 93. & 3.1.6. 3.1.4.6., 7., 3.2.2.16. |  |  |
| 3.16 | Importance Category: | ☐ Low ☐ Low human occupancy ☐ Post-disaster shelter ☐ Normal ☐ High ☐ Minor storage building ☐ Explosive or hazardous substances ☐ Post-disaster |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 4.1.2.1.(3) & T4.1.2.1. |  |  |
| 3.17 | Seismic Category: | Seismic Category: ______________________________ Site Class: ______________________________ Seismic design for Table 4.1.8.18. items 6 to 22: ☐ Required ☐ Not Required Reasons: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 4.1.8.4.(1) T-4.1.8.5.-B 4.1.8.18. |  |  |
| 3.18 | Occupant Load Insert additional lines as needed | Floor Level/Area |  |  |  |  |  | Occupancy Type |  |  |  |  |  |  |  |  |  |  | Based On |  |  |  |  |  |  |  |  |  | Occupant Load (Persons) 0 0 0 0 |  |  |  |  |  |  | Posted Limit Required |  |  | 3.1.17. |  |  |
| 3.19 | Barrier-free Design: | Yes No |  |  |  |  | Explanation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.8. |  |  |
|  | Barrier-free Entrances: | Number |  |  |  |  | Explanation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.8.1.2. |  |  |
| 3.20 | Hazardous Substances: | Yes No |  |  |  |  | Explanation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.3.1.2., |  |  |
| 3.21 | Required Fire Resistance Ratings | Horizontal Assembly |  |  |  |  |  |  |  |  |  | Rating (H) |  |  |  |  |  | Supporting Assembly (H) |  |  |  |  |  |  |  |  |  |  |  |  |  | Noncombustible in lieu of rating? |  |  |  |  |  |  | 3.2.2.20 - 93, 3.2.1.2, 3.2.1.4., 3.2.2.15., 3.3.2.1. |  |  |
|  |  | Storeys below grade Floors over basement Floors Mezzanine Roof |  |  |  |  |  |  |  |  | 0 0 0 0 0 |  |  |  |  |  | 0 0 0 0 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ No ☐ Yes ☐ N/A ☐ No ☐ Yes ☐ N/A ☐ No ☐ Yes ☐ N/A ☐ No ☐ Yes ☐ N/A ☐ No ☐ Yes ☐ N/A |  |  |  |  |  |  |  |
| 3.22a | Spatial Separation | Exposing Building Face |  |  | EBF Area (m2) |  |  | L.D. (m) |  |  |  |  |  |  | L/H or H/L |  |  |  |  |  | Required FRR (H) |  |  |  |  | % Unprotected Openings Permitted |  |  |  |  |  |  |  |  | % Unprotected Openings Provided |  |  |  | 3.2.3. |  |  |
|  | Insert additional lines as needed |  |  | 0 0 0 0 |  |  |  | 0 0 0 0 |  |  |  |  |  |  | 0 0 0 0 |  |  |  |  |  |  | 0 0 0 0 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.22b | Spatial Separation Continued | EBF (repeated) |  |  |  |  |  |  |  |  |  |  |  | Construction Type |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Cladding Type |  |  |  |  |  |  | 3.2.3. |  |  |
|  | Insert additional lines as needed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | ☐ Noncombustible ☐ Noncombustible ☐ Noncombustible ☐ Noncombustible |  |  |  |  |  |  |  |  |  |
| 3.23a | Plumbing Fixture Requirements” | Ratio: Male:Female = 50:50 Except as noted otherwise |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 3.7.4., 3.8.2.3. |  |  |
|  | Insert additional lines as needed | Floor Level/Area |  |  |  |  |  |  |  |  | Occupant Load 0 0 0 0 |  |  |  |  |  |  |  |  | OBC Reference |  |  |  |  |  |  |  |  |  |  | WCs Required 0 0 0 0 |  |  |  |  |  |  | WCs Provided 0 0 0 0 |  |  |  |  |
| 3.23b | Plumbing Fixture Requirements continued: Insert additional lines as needed | Floor Level/Area (repeated) |  |  |  |  |  |  |  | Barrier-free WCs Required 0 0 0 0 |  |  |  |  |  | Barrier-free WCs Provided 0 0 0 0 |  |  |  |  |  |  |  |  |  |  |  | Universal Washrooms Required 0 0 0 0 |  |  |  |  |  |  |  |  | Universal Washrooms Provided 0 0 0 0 |  |  |  | Tables 3.8.2.3.A and 3.8.2.3.B |
| 3.24 | Energy Efficiency: | Compliance Path: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 12.2.1.2 |  |  |
|  |  | Climate Zone: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Degree Days Below 18 C: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | SB-1 Table 2 |  |  |
| 3.25 | Sound Transmission Design: | Is there more than 1 dwelling unit per building?: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Yes No |  |  |  |  |  |  |  |  | SB-3, 5.8.1.2.(2), 5.8.1.4., & 5.8.1.5. |  |  |
|  |  | Option Implemented: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | Notes: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 3.26 | Alternative Solution |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | [A] 1.2.1.1., and [C] 2.1. |  |  |
| 3.27 | Notes: Insert additional lines as needed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

- All references are to Division B of the OBC, unless preceded by [A] for Division A and [C] for Division C.

For Site Plan Agreement/Approval (SPA) purposes, consider attaching items 3.01 through 3.17, 3.19, and 3.24 of this form to the SPA submission.