| Name of Practice: Enter address and contact information here. Name of Project: Enter name here. Location: Enter address here. # Date: Enter date here. |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # 2024 Ontario Building Code Data Matrix # Part 10 – Change of Use |  |  |  |  |  |  |  |  |  |  | # Building Code Reference 1 |
| 10.00 | Building Code Version: | O. Reg. 163/24 |  |  | Last Amendment |  |  | O. Reg. 119/26 |  |  |  |
| 10.01 | Project Type: | ☒ Change of use |  |  |  |  |  |  |  |  | [A] 1.3.3.3A., [C] 1.3.1.4. |
|  |  | Description: |  |  |  |  |  |  |  |  |  |
| 10.02 | Major Occupancy Classification: | Occupancy Use |  |  |  |  |  |  |  |  | 3.1.2.1.(1), 2.1.4.1.(1), 10.1.1.2., 10.2., and 11.2.1. |
| 10.03 | Superimposed Major Occupancies: | ☐ No ☐ Yes |  |  |  |  |  |  |  |  | 3.2.2.7., and 2.2.1. |
|  |  | Description: |  |  |  |  |  |  |  |  |  |
| 10.04 | Building Height | 0 0 | Storeys above grade Storeys below grade |  |  |  | 0 | (m) Above grade |  |  | [A] 1.4.1.2., 3.2.1.1., and 2.2.2.2. |
| 10.05 | Number of Streets/ Firefighter access | 0 |  |  |  |  |  |  |  |  | 3.2.2.10., 3.2.5., and 2.2.4.1. |
| 10.06 | Building Size | ☐ Small ☐ Medium ☐ Large ☐ > Large |  |  |  |  |  |  |  |  | T.11.2.1.1.B.-N., 11.2.1.1.(4), 10.2.1.2., and 11.2. |
| 10.07 | Existing Building Classification: | Change in Major Occupancy: ☐ Yes ☐ Not Applicable (no change of major occupancy) Construction Index: 0 Hazard Index: 0 |  |  |  |  |  |  |  |  | 10.1.1.2., and 11.2.1.1. 10.2.1.2., 11.2.1.1. 11.2.1.2., and 11.2.1.3. |
|  |  | Importance Category : ☐ Low ☐ Normal ☐ High ☐ Post-disaster |  |  |  |  |  |  |  |  | 4.1.2.1.(3), 2.3.1., and 5.2.2.1.(2) |
| 10.08 | Occupant Load Insert additional lines as needed | Floor Level/Area |  | Occupancy Type |  |  | Based On Total: |  |  | Occupant Load (Persons) 0 0 0 0 0 | 3.1.17., and 2.1.2.2. |
| 10.09 | Reduction in Performance Level: | Structural roof framing system: Structural floor framing system: Early warning and evacuation system: Change in use/major occupancy: Hazard Index : Construction Index: Change to residential occupancy: Multiple occupancy fire separations: Non-compliance with 2.2.1.2, 3.1.3.2. or 9.10.9.14. Change to sanitary flow/discharge Use changed to retirement home Other : |  |  |  | ☐ No ☐ No ☐ No ☐ No ☐ No ☐ No ☐ No ☐ No ☐ No ☐ No ☐ No |  | ☐ Yes ☐ Yes ☐ Yes ☐ Yes ☐ Yes ☐ Yes ☐ Yes ☐ Yes ☐ Yes ☐ Yes ☐ Yes |  |  | 10.3.2.2.(1) 10.3.2.2.(1) 10.3.2.2.(3) 10.3.2.2.(4) 10.3.2.2.(5) 10.3.2.2.(7) 10.3.2.2.(9) 10.3.2.2.(10) 10.3.2.2.(11) 10.3.2.2.(12) |
| 10.10 | Compliance Alternatives Proposed: | ☐ No ☐ Yes (list numbers and describe) (list numbers and describe) (list numbers and describe) |  |  |  |  |  |  |  |  | 10.4.1.1., and T11.5.1.1.A.-F. |
| 10.11 | Alternative Solutions Insert additional lines as needed |  |  |  |  |  |  |  |  |  | [A] 1.2.1.1., and [C] 2.1. |
| 10.12 | Notes: Insert additional lines as needed |  |  |  |  |  |  |  |  |  |  |

1	All references are to Division B of the OBC, unless preceded by [A] for Division A and [C] for Division C.