| Name of Practice: Enter address and contact information here. Name of Project: Enter name here. Location: Enter address here. # Date: # Enter date here. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # 2024 Ontario Building Code Data Matrix # Part 2 – Farm Buildings |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | # Building Code Reference1 |
| 2.00 | Building Code Version: | O. Reg. 163/24 |  |  |  |  |  |  |  |  | Last Amendment |  |  |  |  |  |  |  |  |  |  |  |  |  |  | O. Reg. 119/26 |  |  |  |  |  |  |
|  | Applicable Code | ☐ OBC 2024, Part 2 ☐ National Farm Building Code of Canada |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.01 | Project Type: | ☐ New Construction ☐ Addition ☐ Renovation ☐ Change of use ☐ Addition and renovation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | [A] 1.1.1.1. |
|  |  | Description: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  | ☐ Includes housing of livestock ☐ Includes liquid manure below-floor storage ☐ Structural design to SB-11 ☐ Includes hazardous extraction operation involving cannabis ☐ Includes controlled atmosphere storage areas |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2.1.2.3.(5) 2.1.2.3.(6) 2.4.2.3. |
| 2.02 | Major Occupancy Classification: | Occupancy Use |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2.1.2.2. 2.1.4., T3.1.2.1. 3.1.2. A-1.4.1.2.(1) |
|  |  | ☐ All major occupancies are Group G ☐ Refer to Part 3 matrix for other major occupancies ☐ Aggregate area of all major occupancies by Group or Division is less than or equal to 10% |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2.2.1.1.(2), 2.2.1.3. |
| 2.03 | Superimposed Major Occupancies: | Reserved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.04 | Building Area (m2) Insert additional lines as needed | Description: Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Existing 0 0 0 0 0 |  |  |  |  |  |  | New 0 0 0 0 0 |  |  |  | Total 0 0 0 0 0 |  | 2.1.2.1. [A] 1.4.1.2. |
| 2.05 | Gross Area (m2) Insert additional lines as needed | Description: Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Existing 0 0 0 0 0 |  |  |  |  |  |  | New 0 0 0 0 0 |  |  |  | Total 0 0 0 0 0 |  | [A] 1.4.1.2. |
| 2.06 | Mezzanine Area (m2) Insert additional lines as needed | Description: Total |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Existing 0 0 0 0 0 |  |  |  |  |  |  | New 0 0 0 0 0 |  |  |  | Total 0 0 0 0 0 |  | 2.2.2.2., 3.2.1.1. |
| 2.07 | Building Height | 0 0 |  | Storeys above grade Storeys below grade |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 0 |  |  |  |  |  |  | (m) Above grade |  |  |  |  | [A] 1.4.1.2. & 2.1.2.1. 2.2.2.2.. |
| 2.08 | High Building | Reserved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.09 | Number of Streets/ Firefighter access | 0 street(s) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2.2.4.1. |
| 2.10 | Building Classification: (Size & Construction Relative to Occupancy) | 2.2.2. |  |  |  |  | Group/Div |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2.2.2.3.- 8. |
| 2.11 | Sprinkler System | ☐ Required ☐ Not Required Provided: ☐ entire building ☐ selected compartments ☐ selected floor areas ☐ basement ☐ none Description: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2.2.4.2., 2.2.3.6. |
| 2.12 | Standpipe System | Reserved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.13 | Fire Alarm System | ☐ Required ☐ Not required Type Provided: ☐ Single stage ☐ Two stage ☐ None |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2.2.3.1. 2.2.3.2 |
| 2.14 | Water Service / Supply is Adequate | Reserved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.15 | Construction Type: | Restriction: ☐ Combustible permitted ☐ Non-combustible required Actual: ☐ Combustible ☐ Non-combustible ☐ Combination of combustible and non-combustible |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2.2.2.3. - 8. |
| 2.16 | Importance Category: | ☐ Low ☐ Low human occupancy ☐ Normal ☐ Liquid Manure storage tanks ☐ Minor storage building ☐ Explosive or hazardous substances |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2.3.1.1., 4.1.2.1.(3) & T4.1.2.1. |
| 2.17 | Seismic Category: | Seismic Category: _ _____________________________ Site Class: _ _____________________________ Seismic design for Table 4.1.8.18. items 6 to 22: ☐ Required ☐ Not Required Reasons: |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 4.1.8.4.(1) T-4.1.8.5.-B 4.1.8.18 |
| 2.18 | Occupant Load Insert additional lines as needed | Floor Level/Area |  |  |  | Occupancy Type |  |  |  |  |  |  |  |  |  |  | Based On |  |  |  |  |  |  | Occupant Load (Persons) 0 0 0 0 |  |  |  |  |  | Posted Limit Required |  | 2.1.2.2., 2.2.1.17. |
| 2.19 | Barrier-free Design: | Reserved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.20 | Hazardous Substances or Dangerous Goods: |  Yes  No |  |  | Explanation |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 2.2.8. |
| 2.21 | Required Fire Resistance Ratings | Horizontal Assembly |  |  |  |  |  |  |  | Rating (H) |  |  |  |  |  | Supporting Assembly (H) |  |  |  |  |  |  |  |  |  | Noncombustible in lieu of rating? |  |  |  |  |  | 2.2.2.3. – 8., |
|  |  | Floors over basement Floors Mezzanine Roof |  |  |  |  |  |  | 0 0 0 0 |  |  |  |  |  | 0 0 0 0 |  |  |  |  |  |  |  |  |  |  |  |  | ☐ No ☐ Yes ☐ N/A ☐ No ☐ Yes ☐ N/A ☐ No ☐ Yes ☐ N/A ☐ No ☐ Yes ☐ N/A |  |  |  |  |
| 2.22a | Spatial Separation | Reserved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.22b | Spatial Separation Continued | Reserved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.23a | Plumbing Fixture Requirements” | Reserved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.23b | Plumbing Fixture Requirements continued: | Reserved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.24 | Energy Efficiency: | Reserved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.25 | Sound Transmission Design: | Reserved |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| 2.26 | Alternative Solutions Insert additional lines as needed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | [A] 1.2.1.1., and [C] 2.1. |
| 2.27 | Notes: Insert additional lines as needed |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |

- All references are to Division B of the OBC, unless preceded by [A] for Division A and [C] for Division C.

- Items indicated as “Reserved” are to maintain consistency of numbering with the Part 3 matrix.

For Site Plan Agreement/Approval (SPA) purposes, consider attaching items 2.01 through 2.17 of this form to the SPA submission.